**ENT OPD REQUIREMENTS**

|  |  |  |  |
| --- | --- | --- | --- |
| **Area** | **N** | **Requirements** | **Notes** |
| HOD / Unit Chief room | 1 | ENT OPD Unit (Built-in Endoscope, Suction, Xray viewer) + Small table | Small area for PAC PG |
| Nursing / Administration / Reception | 1 |  | Near HOD room |
| Consulation Room | 7 | ENT OPD Unit (Built-in Endoscope, Suction, Xray viewer) + Small table |  |
|  |  | UG Teaching | Adequate space for UG students (clinical posting) |
| Demonstration / Seminar room | 1 | Projection / Whiteboard / Capacity 50 students | For UG teaching / UG exam case taking |
| Cleaning / Disinfection room | 1 |  | For instrument cleaning / disinfection |
| Endoscopy / Treatment room | 1 | 2 tables - Endoscopy unit, Suction, Microscope, Dressing trolley | Minor procedures like wax removal, dressing etc, patient supine / semi-reclining |
| Preparation room | 1 | Adjacent to Treatment room / Adequate storage facility / Refridgerator | For holding sterilized instruments, and preparing trolleys etc |
| Recovery room | 1 | Adjacent to Treatment room | For patient recovery after endoscopy / minor procedures |
| Toilet | 2 |  | For staff and patients |

**ENT CASUALITY REQUIREMENTS**

|  |  |  |  |
| --- | --- | --- | --- |
| **Area** | **N** | **Requirements** | **Notes** |
| Examination Room | 1 | OPD Unit / Suction + Viewbox |  |
| Minor Procedure Room | 1 | Endoscopy, Suction, Dressing | Tracheostomy, Epistaxis management, Suturing |